## Summary
Version: April 2026
Terms of Use & Disclaimer
DISCLAIMER – TECHNICAL BLUEPRINT 1. PURPOSE This Technical Blueprint is provided by CRREM as a step-by-step technical specification for building a CRREM assessment tool. Intended for developers, AI agents, or analysts replicating the CRREM methodology programmatically. CRREM provides this Technical Blueprint solely as a guidance tool. CRREM does not review, audit, verify, or otherwise validate the assumptions, data inputs, or disclosures made by users in this Technical Blueprint. CRREM shall not be held accountable for any errors, omissions, or misrepresentations in user-completed disclosures. 2. CALCULATIONS AND FORMULAS All underlying calculations, formulas, and computational logic contained in this workbook are provided strictly on an "as-is" basis for informational and illustrative purposes only. Users who choose to rely upon, apply, or adapt any calculations or formulas do so entirely at their own risk. CRREM makes no representation or warranty that any calculation or formula is free from errors, complete, or suitable for any specific application. Users are solely responsible for independently verifying all outputs before relying on them for decision-making, reporting, or compliance purposes. 3. NO LICENSING OR INTELLECTUAL PROPERTY RIGHTS GRANTED This workbook does not constitute, and shall not be construed as, a grant, transfer, or license of any intellectual property rights, copyrights, database rights, or any other proprietary rights. All rights in any referenced third-party data, methodologies, or standards remain exclusively with their respective owners. Users who wish to obtain licenses or permissions for any referenced materials must contact the original publishers directly. 4. ACCURACY AND COMPLETENESS While CRREM has exercised reasonable care in designing this Technical Blueprint and formulating the recommended options and guidance contained herein, CRREM makes no representation or warranty, whether express or implied, as to the accuracy, completeness, reliability, timeliness, or fitness for any particular purpose of the framework or its contents. The disclosure items and recommendations may be updated periodically to reflect evolving best practices, regulatory requirements, or methodological developments. 5. NO LIABILITY To the fullest extent permitted by applicable law, CRREM, its affiliates, partners, directors, employees, and agents shall not be liable for any direct, indirect, incidental, consequential, special, or exemplary damages, losses, or costs of any kind arising out of or in connection with the use of, reliance upon, or inability to use this Technical Blueprint, regardless of the cause of action or the theory of liability, even if CRREM has been advised of the possibility of such damages. This includes, without limitation, any liability arising from incomplete or incorrect disclosures made by users. 6. USER RESPONSIBILITY Users are solely responsible for: (a) selecting the assumptions and methodological choices appropriate to their specific assets, portfolios, jurisdictions, and reporting requirements; (b) ensuring the accuracy and completeness of all data and disclosures entered into this Technical Blueprint; (c) independently verifying that their disclosures are consistent with applicable regulatory, reporting, and stakeholder requirements; and (d) maintaining documentation sufficient to support and substantiate each disclosed assumption. Users should not rely on this framework as a substitute for professional advice or independent due diligence. 7. COMPARABILITY AND CONSISTENCY The value of this Technical Blueprint depends on consistent and honest application by all users. Assessments that use different assumptions or methodological choices may not be directly comparable. Users are encouraged to disclose all material deviations from CRREM's recommended options and to maintain consistency across reporting periods to support meaningful trend analysis. 8. CHANGES AND UPDATES CRREM reserves the right to modify, update, or discontinue this Technical Blueprint at any time without prior notice. CRREM is under no obligation to notify users of changes to the framework or to maintain backward compatibility with prior versions. © CRREM – Carbon Risk Real Estate Monitor. All rights reserved with respect to the design and structure of this Technical Blueprint.

## Asset Level Blueprint
CRREM Technical Blueprint (Asset-level)
Step-by-step technical specification for building a CRREM assessment tool. Intended for developers, AI agents, or analysts replicating the CRREM methodology programmatically.
User supplies separately: (1) Pathways dataset (by CRREM region x property type x year), (2) Emission Factors dataset (by type x CRREM region x year), (3) Postal Code Lookup table (resolves postal codes to sub-national CRREM regions for USA, Canada, and Australia; not needed for countries with a single national pathway), (4) [Optional] HDD/CDD Projections dataset (Heating Degree Days and Cooling Degree Days by location and year, under climate scenarios such as SSP5-8.5 and SSP2-4.5; the legacy CRREM Excel tool does not provide HDD/CDD data for all regions covered by CRREM Pathways and does not use the most up-to-date climate projections, a separate dataset is required; see CRREM Assessment Methodology Guide for further details). This technical blueprint defines how the tool consumes them.
Scope: Asset-level energy and carbon intensity, CRREM Pathway comparison, CRREM Misalignment Year.
STEP 1 Asset-Level Data Collection
Field | Unit | Required | Description | Validation / Notes
Asset_ID | — | Optional | Unique identifier per asset
GAV | currency | Optional | Gross Asset Value. Not used in asset-level intensity outputs. | Enter in a consistent currency across all assets.
Asset_Name | — | Yes | Free text label
Country | — | Yes | Country name. Must match Pathways + Emission Factors sheets exactly. | Store as text. Must match Pathways + Emission Factors sheets exactly. For countries with sub-national CRREM regions (USA, CAN, AUS), the Country alone is not sufficient — a Postal_Code is also required to resolve the CRREM_Region (see Step 5.1).
Postal_Code | text | Conditional | Only required for countries with sub-national CRREM regions (currently USA, CAN, AUS). Used in Step 5.1 to resolve the sub-national CRREM_Region via a Postal Code Lookup table. For all other countries, the Country field alone determines the CRREM_Region and no postal code is needed. | Store as text (preserve leading zeros). Only applicable for countries where CRREM publishes sub-national pathways (USA, Canada, Australia). For these countries, the postal code is resolved to a sub-national CRREM region via a Postal Code Lookup table (see Step 5.1). For all other countries, this field can be left blank.
Property_Type | — | Yes | One of the CRREM property types (Office, Retail High Street, Shopping Center, Retail Warehouse, Distribution Warehouse Warm, Distribution Warehouse Cold, Logistics, Hotel, Healthcare, Residential, etc.) or 'Mixed Use' | Select the CRREM property type that best describes the primary use of the asset. Must match a property type available in the CRREM Pathways dataset.
Reporting_Year | yyyy | Yes | Year the consumption data refers to (e.g. 2024) | Must exist as a column in Pathways and Emission Factors.
GIA | m² | Yes | Gross Internal Area. Denominator for all intensity calculations. | Must be > 0. Excludes indoor parking.
Energy Types (all in kWh/yr, whole-building = landlord + tenant combined):
Elec_Grid | kWh/yr | Yes | Grid electricity consumption | >= 0
Gas | kWh/yr | If applicable | Natural gas consumption | >= 0. Enter 0 if not used.
Oil | kWh/yr | If applicable | Heating oil consumption | >= 0
District_Heating | kWh/yr | If applicable | District heating consumption | >= 0
District_Cooling | kWh/yr | If applicable | District cooling consumption | >= 0
Biomass | kWh/yr | If applicable | Biomass energy consumption | >= 0
Other_Fuels | kWh/yr | If applicable | Coal, LPG, or other fuels | >= 0
Renew_Consumed | kWh/yr | If applicable | On-site renewable energy generated AND consumed on-site (e.g. rooftop PV) | >= 0. EF = 0 for carbon calc. Counts toward total energy.
Renew_Exported | kWh/yr | If applicable | On-site renewable energy exported to grid. NOT in total energy. Used for grid export credit in Step 4. | >= 0. Credit capped at grid electricity emissions.
Mixed-Use Inputs (only if Property_Type = 'Mixed Use'):
MU_[Type]_Pct | % | If Mixed Use | Floor area share per use type (e.g. MU_Office_Pct = 70%, MU_Retail_Pct = 30%). One column per CRREM property type. | All MU_Pct columns must sum to 100%. Ignored for single-use assets.
⚠ All energy figures should represent whole-building consumption landlord-controlled and tenant-controlled energy combined.
Data normalization: CRREM does not currently provide official guidance on normalizing energy data for e.g., vacancy. The legacy CRREM Excel tool addressed missing monthly data by linear extrapolation. We recommend performing any normalization or gap-filling outside this calculation, prior to the CRREM assessment, and transparently documenting the methodology applied (e.g. vacancy adjustments, weather normalization, extrapolation of partial-year data).
STEP 2 Whole-Building Energy & Energy Use Intensity (EUI)
Calculation | Unit | Formula | Description | Notes
Total_Energy | kWh/yr | Elec_Grid + Gas + Oil + District_Heating + District_Cooling + Biomass + Other_Fuels + Renew_Consumed | Sum of ALL energy types incl. on-site renewables consumed on-site | Renew_Exported is NOT included here. ⚠ Use whole-building data only. Intensities from partially metered buildings where missing areas are excluded but full GIA is used as the denominator overstate efficiency. Missing consumption should be estimated and filled in prior to this calculation (the legacy CRREM tool extrapolated missing months linearly; pre-filling is now recommended instead).
EUI | kWh/m²/yr | Total_Energy / GIA | Energy Use Intensity. Compare against CRREM EUI pathway (Step 6). | KEY OUTPUT
ℹ NOTE Why Renew_Consumed is included in total energy:
On-site solar (or other renewables) consumed on-site is real energy consumption the building is still using it, just from a cleaner source. Including it in Total_Energy increases EUI. However, because its emission factor is zero, it does NOT increase carbon intensity. In other words: on-site renewables make a building look less energy-efficient on the EUI metric, but do not worsen its carbon intensity. This asymmetry is by design.
ℹ NOTE Why Renew_Exported is excluded from total energy:
Energy exported to the grid is not consumed by the building. It is accounted for separately as a grid export credit in Step 4 (carbon calculation only).
STEP 3 Emission Factor Data
Each energy type has a carbon emission factor (EF) in kgCO2e/kWh. EFs are looked up per type, per CRREM region, and per year from the user-supplied Emission Factors dataset. For countries with sub-national CRREM regions (United States, Canada, Australia), EFs must be matched at the same sub-national level as the Pathway — not at country level. When an EF file or sheet is provided, the correct EF column should be selected by matching the CRREM_Region identifier in the EF dataset to the region identifier embedded in the CRREM Pathway name (e.g., 'NYSTc_Mixed mild_4A', 'NCC Zone 6', 'Alberta').
Energy Type | EF Unit | Varies by Year? | Lookup Logic | Notes
Grid Electricity | kgCO2e/kWh | YES declines annually | INDEX/MATCH on EF table: match Country row, then Reporting_Year column | Declines annually. Recommendation: use location-based emission factors (grid average EFs) to ensure a like-for-like comparison with CRREM Pathways, which are themselves derived from location-based EFs. If a market-based EF (e.g., from a renewable energy certificate) is used instead, this should be clearly disclosed.
Natural Gas | kgCO2e/kWh | No constant | Single value per type (or per type + country if dataset provides it) | Combustion-based. Approx. 0.202 kgCO2e/kWh (CRREM default).
Oil / Heating Oil | kgCO2e/kWh | No constant | Single value per type | Approx. 0.281 kgCO2e/kWh.
District Heating | kgCO2e/kWh | Country-specific, may decline | Match Country (+ optionally Year) in EF dataset | Emission factors for district heating systems vary significantly by city, operator, and fuel mix. CRREM does not provide a default EF for district heating. Users should supply the location-specific EF from the district system operator. Legacy CRREM fallback: at the time, only the UK published a country-level average district heating EF (0.20431 kgCO2e/kWh). The legacy CRREM Excel tool derived district heating EFs for other countries by scaling this UK reference value against the local grid EF: EF_DH(country, year) = 0.20431 * EF_Grid(country, Reporting_Year) / EF_Grid(UK, 2020). Decarbonization of the district system was also coupled to this UK ratio, i.e. the EF declines over time in proportion to the grid EF trajectory of the assessment country. This approach is a rough proxy and should be replaced with site-specific data where available.
District Cooling | kgCO2e/kWh | Country-specific, may decline | Match Country (+ optionally Year) in EF dataset | Same logic as district heating. In the legacy CRREM Excel tool, district cooling was not captured with a separate emission factor. The same UK-ratio-based fallback was applied: EF_DC(country, year) = 0.20431 * EF_Grid(country, Reporting_Year) / EF_Grid(UK, 2020). Decarbonization trajectory likewise coupled to the local grid EF. Replace with site-specific data where available.
Biomass | kgCO2e/kWh | No constant | Single value per type | Typically low or zero depending on CRREM dataset.
Other Fuels | kgCO2e/kWh | No constant | Single value per type | Coal, LPG, etc. Combustion-based.
On-site Renewables (consumed) | kgCO2e/kWh | N/A | Always 0 hardcoded | EF = 0 by definition. Included in energy, zero carbon impact.
EF Dataset Structure: The Emission Factors sheet should be a matrix with Country as rows, Years as columns (for grid electricity), plus a separate table for fixed-EF types. The tool uses INDEX/MATCH or XLOOKUP to retrieve the correct value.
STEP 4 Carbon Intensity Calculation
Calculation | Unit | Formula | Description | Notes
4.1 CO2 per type:
CO2_Elec | kgCO2e/yr | Elec_Grid * EF_Electricity | Grid electricity emissions | EF from Step 3 lookup (country + year specific)
CO2_Gas | kgCO2e/yr | Gas * EF_Gas | Natural gas emissions
CO2_Oil | kgCO2e/yr | Oil * EF_Oil | Oil emissions
CO2_DH | kgCO2e/yr | District_Heating * EF_DH | District heating emissions | Use site-specific EF if available. Legacy fallback: EF_DH(country, t) = 0.20431 * EF_Grid(country, t) / EF_Grid(UK, 2020), for each t from Reporting_Year to 2050. The ratio 0.20431 / EF_Grid(UK, 2020) is a fixed scalar; the annual decline comes entirely from EF_Grid(country, t).
CO2_DC | kgCO2e/yr | District_Cooling * EF_DC | District cooling emissions | Use site-specific EF if available. Legacy fallback: EF_DC(country, t) = 0.20431 * EF_Grid(country, t) / EF_Grid(UK, 2020), for each t from Reporting_Year to 2050. Same formula as district heating; not separately captured in legacy tool.
CO2_Biomass | kgCO2e/yr | Biomass * EF_Biomass | Biomass emissions
CO2_Other | kgCO2e/yr | Other_Fuels * EF_Other | Other fuel emissions
CO2_Renew | kgCO2e/yr | Renew_Consumed * 0 | Always zero. On-site renewables have EF = 0. | Included for completeness / audit trail.
Total_CO2 | kgCO2e/yr | SUM(CO2_Elec : CO2_Renew) | Total gross carbon emissions before grid export credit
4.2 Grid Export Credit:
Raw_Export_Credit | kgCO2e/yr | Renew_Exported * EF_Electricity | Uncapped credit for exported renewable electricity | Uses same grid EF as electricity consumption
Max_Credit | kgCO2e/yr | Elec_Grid * EF_Electricity | Credit cannot exceed grid electricity emissions (= CO2_Elec) | You cannot offset gas/oil emissions with surplus solar export.
Grid_Export_Credit | kgCO2e/yr | MIN(Raw_Export_Credit, Max_Credit) | Actual credit applied. Capped at grid electricity emissions. | CRITICAL CONSTRAINT
4.3 Net Carbon & Intensity:
Net_CO2 | kgCO2e/yr | Total_CO2 - Grid_Export_Credit | Net carbon emissions after grid export credit
Carbon_Intensity | kgCO2e/m²/yr | Net_CO2 / GIA | Carbon Intensity. Compare against the CRREM CO2 Pathway (Step 6). | KEY OUTPUT
STEP 5 Pathway Selection
CRREM Pathways are science-based decarbonization trajectories: year-by-year declining budgets for both energy intensity (kWh/m²/yr) and carbon intensity (kgCO2e/m²/yr), from the base year to 2050. They vary by CRREM region (country or sub-national region such as eGRID subregions, provinces, or climate zones) and property type. Currently, CRREM provides only the 1.5°C scenario pathway. The tool must first determine the asset's CRREM region — using Country directly for most countries, or resolving the Postal Code to a sub-national region for USA, Canada, and Australia — before selecting the pathway.
5.1 Pathway Lookup by Country (and Postal Code where applicable):
Step | Input | Action | Output | Notes
1. Read Country | Country (from Step 1 input) | Take the Country field from asset input data. | Country | Always available from the asset input. This is the starting point for pathway resolution.
2. Check sub-national split | Country | Check whether Country has sub-national CRREM regions (USA, Canada, Australia). If yes → proceed to Step 3. If no → set CRREM_Region = Country code and skip to Step 4. | Has_Subnational (boolean) | Only USA, CAN, AUS currently have sub-national pathways. All other countries use a single national pathway, so no postal code lookup is needed.
3. Resolve sub-national region (conditional) | Postal_Code | Only if Has_Subnational = true: look up Postal_Code in the Postal Code Lookup table to resolve the sub-national CRREM region. | CRREM_Region (sub-national code, e.g. "NYSTc_Mixed mild_4A", "NCC Zone 6", "Alberta") | USA: ZIP → eGRID subregion + climate zone → CRREM_Region (e.g. "NYSTc_Mixed mild_4A", ~45 regions total). Canada: postal code → province. Australia: postcode → NCC climate zone ("NCC Zone 1" through "NCC Zone 7"; Zone 4 not used). Postal Code Lookup table must be provided separately.
4. Select CRREM Pathway row | CRREM_Region + Property_Type | INDEX/MATCH in Pathways dataset: match CRREM_Region & Property_Type to retrieve the pathway row. | CRREM Pathway row (year-by-year values from 2020 to 2050) | Separate lookup for CO2 CRREM Pathway and EUI CRREM Pathway. For Step 6, read the FULL row (all years to 2050).
Sub-national resolution details: | USA: ~15 city/grid-region pathways based on eGRID subregions, further split by climate zone (e.g. NYSTc_Cold or very cold_6A, NYSTc_Mixed mild_4A). Postal Code Lookup maps each ZIP code to an eGRID subregion + climate zone, yielding the CRREM_Region (e.g. ZIP 10005 → "NYSTc_Mixed mild_4A"). Canada: province-level pathways. Australia: 6 NCC climate-zone pathways (NCC Zone 1 through NCC Zone 7; Zone 4 not used). Postal Code Lookup maps each postcode to an NCC Zone (e.g. 2170 → "NCC Zone 6"). For all other CRREM countries, CRREM_Region equals the country code (e.g. UK, HK) and no postal code lookup is required.
Pathways Dataset Structure: Rows = Country + Property_Type combinations. Columns = years (2020, 2021, ... 2050). Two separate tables: one for CO2 pathways (kgCO2e/m²/yr), one for EUI pathways (kWh/m²/yr).
5.2 Mixed-Use Buildings:
For mixed-use buildings, there is no single pathway row. Instead, compute a floor-area-weighted blend of the individual property-type pathways.
Calculation | Unit | Formula | Description | Notes
Blended_CO2_Pathway(t) | kgCO2e/m²/yr | SUM( MU_Pct[i] * Pathway_CO2(Country, Type[i], t) ) for all use types i where MU_Pct[i] > 0 | Weighted average of sub-type CO2 pathways by floor area share | Must be recalculated for EACH year t since component pathways decline at different rates.
Blended_EUI_Pathway(t) | kWh/m²/yr | SUM( MU_Pct[i] * Pathway_EUI(Country, Type[i], t) ) for all use types i where MU_Pct[i] > 0 | Same logic for EUI pathway
Example: A building that is 70% Office / 30% Retail by floor area:
Blended CO2 Pathway (2030) = 0.70 * CO2_Pathway(Country, 'Office', 2030) + 0.30 * CO2_Pathway(Country, 'Retail', 2030)
Implementation: Use a helper row mapping each MU column to its CRREM property type string. Then use SUMPRODUCT(MU_Pcts, pathway_lookups) for each year.
For single-use assets (not Mixed Use): the pathway is a direct lookup match Country + Property_Type in the Pathways table.
STEP 6 Determining the CRREM Misalignment Year
Project the asset's energy and carbon intensity forward from the reporting year to 2050, then compare against the pathway to find the first year the asset exceeds it.
6.1 Forward Projection (no-retrofit baseline):
Assumption |  | behavior | Implication
Energy consumption |  | Stays constant (flat demand) | EUI remains flat from reporting year to 2050
Grid electricity EF |  | Declines over time as electricity grids decarbonize | Carbon intensity falls even without building-level changes, as the grid becomes cleaner over time.
All other EFs |  | Remain constant (exception: DH/DC legacy fallback declines, see Step 3) | Gas, oil, biomass EFs do not change over time. District heating/cooling EFs are also fixed if site-specific; only the legacy fallback EFs decline (coupled to grid EF trajectory).
Projected Carbon Intensity for year t:
For each year t from Reporting_Year to 2050, recalculate: CO2(t) = Elec_Grid*EF_Elec(t) + Gas*EF_Gas + Oil*EF_Oil + DH*EF_DH(t) + DC*EF_DC(t) + Biomass*EF_Biomass + Other*EF_Other + Renew*0. Grid_Export_Credit(t) = MIN(Renew_Exported*EF_Elec(t), Elec_Grid*EF_Elec(t)). Then Carbon_Intensity(t) = (CO2(t) - Grid_Export_Credit(t)) / GIA. Note: EF_Elec(t) declines annually per EF dataset. EF_DH(t) and EF_DC(t) also decline if using the legacy fallback (coupled to grid EF, see Step 3). All other EFs are fixed.
Projected EUI for year t: EUI stays constant = Total_Energy / GIA (flat demand assumption).
6.1a [Optional] Climate-Scenario-Adjusted EUI Projection (HDD/CDD-based)
The default CRREM assessment methodology assumes flat energy demand (EUI constant from reporting year to 2050). In reality, climate change alters heating and cooling loads significantly: rising temperatures reduce Heating Degree Days (HDD) and increase Cooling Degree Days (CDD). This is an often-underestimated driver of future energy consumption. Under warming scenarios (e.g. SSP5-8.5), cooling-dominated buildings may see rising energy demand, while heating-dominated buildings may see declining demand.
Prerequisite: A separate HDD/CDD Projections dataset is required (see dataset (4) in the header). The legacy CRREM Excel tool does not provide HDD/CDD projections for all regions covered by CRREM Pathways and does not use the most up-to-date climate projections. Users must source this data independently (e.g. from climate model outputs, national meteorological services, or third-party providers). See the CRREM Assessment Methodology Guide for further background.
Input Data | Unit | Source | Description | Notes
HDD_Base | °C·days/yr | HDD/CDD dataset | Heating Degree Days at asset location for the Reporting_Year (or nearest historical baseline) | Base temperature typically 15.5°C / 18°C depending on convention
CDD_Base | °C·days/yr | HDD/CDD dataset | Cooling Degree Days at asset location for the Reporting_Year (or nearest historical baseline) | Base temperature typically 22°C / 24°C
HDD(t, scenario) | °C·days/yr | HDD/CDD dataset | Projected HDD for year t under a given climate scenario (e.g. SSP2-4.5 or SSP5-8.5) | Time series from Reporting_Year to 2050
CDD(t, scenario) | °C·days/yr | HDD/CDD dataset | Projected CDD for year t under a given climate scenario | Time series from Reporting_Year to 2050
Calculation | Unit | Formula | Description | Notes
HDD_Ratio(t) | ratio | HDD(t, scenario) / HDD_Base | Ratio of projected HDD to baseline HDD. Values < 1 indicate reduced heating demand. | If HDD_Base = 0 (no heating climate), set ratio to 0.
CDD_Ratio(t) | ratio | CDD(t, scenario) / CDD_Base | Ratio of projected CDD to baseline CDD. Values > 1 indicate increased cooling demand. | If CDD_Base = 0 (no cooling climate), set ratio to 0.
Energy_Heating | kWh/yr | Gas + Oil + District_Heating + Biomass (or user-defined heating share) | Baseline heating-related energy consumption in the reporting year. Scales with HDD_Ratio. | Simplified split. User may refine based on actual heating/cooling breakdown if available.
Energy_Cooling | kWh/yr | District_Cooling (or user-defined cooling share of Elec_Grid) | Baseline cooling-related energy consumption. Scales with CDD_Ratio. | Electricity used for cooling may need to be estimated as a share of total grid electricity (e.g. via energy audit or benchmark splits).
Energy_Baseload | kWh/yr | Total_Energy - Energy_Heating - Energy_Cooling | Non-weather-sensitive energy (lighting, plug loads, hot water, etc.). Remains constant over time.
Total_Energy(t) | kWh/yr | Energy_Heating * HDD_Ratio(t) + Energy_Cooling * CDD_Ratio(t) + Energy_Baseload | Climate-adjusted total energy for year t. Replaces the flat-demand assumption. | Compute for each year t from Reporting_Year to 2050, per scenario.
EUI(t, scenario) | kWh/m²/yr | Total_Energy(t) / GIA | Projected EUI under the selected climate scenario. Time series from Reporting_Year to 2050. | OPTIONAL OUTPUT — replaces flat EUI in Step 6.2 if HDD/CDD data is available.
6.2 Identifying the Misalignment Year:
Calculation | Unit | Formula | Description | Notes
CO2_Misalignment_Year | year | Loop t from Reporting_Year to 2050. Find first year t where Carbon_Intensity(t) > CO2_Pathway(t). If already misaligned in Reporting_Year, report Reporting_Year. If no crossing occurs through 2050, report 'Beyond 2050'. | The first year the asset's carbon intensity exceeds the declining CRREM CO2 Pathway. | KEY OUTPUT
EUI_Misalignment_Year | year | Loop t from Reporting_Year to 2050. Find first year t where EUI(t) > EUI_Pathway(t). Default: EUI(t) is flat (= Total_Energy / GIA). If Step 6.1a is active, use climate-adjusted EUI(t, scenario) instead. If already misaligned in Reporting_Year, report Reporting_Year. If no crossing through 2050, report 'Beyond 2050'. | The first year the asset's EUI exceeds the declining CRREM EUI Pathway. | KEY OUTPUT
SUMMARY OF KEY FORMULAS
Metric |  | Formula
Total Energy |  | SUM all energy types incl. on-site renewables consumed on-site
EUI |  | Total_Energy / GIA
CO2 per type |  | Energy_type * EF_type (EF=0 for on-site RE)
Grid export credit |  | MIN(Exported_RE * EF_grid, Grid_Elec * EF_grid)
Carbon Intensity |  | (Total_CO2 - Grid_Export_Credit) / GIA
Mixed-use pathway |  | SUM(Pathway_type * GIA_share_type) per year
Climate-adjusted EUI(t) [Optional] |  | (Heating * HDD_Ratio(t) + Cooling * CDD_Ratio(t) + Baseload) / GIA
REQUIRED REFERENCE DATA FILES
File |  | Contents
Postal Code Lookup Table |  | Maps postal codes to country/region pathway identifier
CRREM Pathways Dataset |  | Year-by-year energy + carbon budgets by country, property type
Emission Factors Dataset |  | EFs per type, per country, per year (with annual grid EF projections)
HDD/CDD Projections Dataset [Optional] |  | HDD and CDD projections by location and year under climate scenarios (e.g. SSP5-8.5, SSP2-4.5). Required for Step 6.1a. The legacy CRREM Excel tool does not provide this data for all covered regions and does not use the most up-to-date climate projections — source separately. See CRREM Assessment Methodology Guide.

## Portfolio Level Blueprint
CRREM Technical Blueprint (Portfolio-level)
Technical specification for aggregating asset-level CRREM results to portfolio level. Produces GIA-weighted portfolio performance and determines the portfolio CRREM Misalignment Year by comparing against a weighted CRREM Pathway.
Scope: Portfolio-level carbon intensity, energy intensity, GIA-weighted CRREM Pathway comparison, portfolio CRREM Misalignment Year.
STEP 1 Assemble Asset-Level Results
Collect the following fields from each asset's completed CRREM assessment. All values are per-asset outputs from the asset-level calculation.
Field | Unit | Source | Description | Notes
Asset_ID | — | Asset-level Step 1 | Unique identifier per asset. | Must match the asset-level assessment output.
Asset_Name | — | Asset-level Step 1 | Free text label.
GIA | m² | Asset-level Step 1 | Gross Internal Area. Used as the weighting denominator for all portfolio metrics. | Must be > 0.
Carbon_Intensity | kgCO2e/m²/yr | Asset-level Step 4 | Net carbon intensity of the asset (= Net_CO2 / GIA). | KEY OUTPUT from asset-level assessment.
EUI | kWh/m²/yr | Asset-level Step 2 | Energy Use Intensity (= Total_Energy / GIA). | KEY OUTPUT from asset-level assessment.
CO2_Pathway(t) | kgCO2e/m²/yr | Asset-level Step 5 | Full CRREM CO2 Pathway for this asset, year-by-year from 2020 to 2050. | Country/region + property type specific. For mixed-use: the blended pathway.
EUI_Pathway(t) | kWh/m²/yr | Asset-level Step 5 | Full CRREM EUI Pathway for this asset, year-by-year from 2020 to 2050. | Same resolution as CO2 Pathway.
GAV | currency | Asset-level Step 1 | Gross Asset Value. Optional. Not used in the GIA-weighted aggregation below. | Include only if money-weighted aggregation (e.g. GAV-weighted) is performed separately.
CRREM_Region | — | Asset-level Step 5 | CRREM region resolved during the asset-level Pathway Lookup (Step 5.1). For most countries this equals the country code (e.g. "UK", "HK"). For USA, Canada, and Australia, the Country plus Postal Code resolves to a sub-national region code (e.g. "NYSTc_Mixed mild_4A", "NCC Zone 6", "Alberta"). | Carried forward for reference. Not directly used in GIA-weighted aggregation, but required if assets are added or replaced. Derived from Country (directly for most countries) or from Country + Postal Code (for USA, CAN, AUS).
All assets in the portfolio must have a completed asset-level CRREM assessment. The full CRREM Pathway time series (2020 to 2050) is required per asset, not just the reporting-year value, because the portfolio pathway comparison is performed year by year.
STEP 2 GIA-Weighted Portfolio Aggregation
Weight each asset's performance by its share of total portfolio floor area. GIA weighting ensures large assets dominate proportionally, matching CRREM methodology and GRESB/PCAF reporting conventions.
2.1 Compute GIA Weights
Calculation | Unit | Formula | Description | Notes
Total_GIA | m² | SUM(GIA_j) for all assets j in portfolio | Sum of all asset floor areas. | Denominator for all weighted calculations.
GIA_Weight_j | % | GIA_j / Total_GIA | Floor area share per asset. All weights must sum to 100%. | Larger assets get more weight.
2.2 Aggregate Portfolio Performance Metrics
Metric | Unit | Formula | Description | Notes
Portfolio_Carbon_Intensity | kgCO2e/m²/yr | SUM( GIA_Weight_j × Carbon_Intensity_j ) | GIA-weighted average carbon intensity across all portfolio assets. | KEY OUTPUT. Equivalent to SUM(Net_CO2_j) / SUM(GIA_j).
Portfolio_EUI | kWh/m²/yr | SUM( GIA_Weight_j × EUI_j ) | GIA-weighted average energy use intensity across all portfolio assets. | KEY OUTPUT. Equivalent to SUM(Total_Energy_j) / SUM(GIA_j).
2.3 Project Portfolio Performance Forward (Reporting Year to 2050)
Using the GIA weights from Step 2.1 and the asset-level forward projections from Asset-Level Step 6.1, aggregate the projected asset-level carbon intensities and EUIs into portfolio-level time series from Reporting Year to 2050. Energy demand per asset is held constant (no retrofit assumed), but grid electricity emission factors decline annually, reducing each asset's carbon intensity over time. EUI per asset remains flat (or climate-adjusted if Asset-Level Step 6.1a is active). This step produces the portfolio performance trajectories that are compared against the weighted CRREM Pathway in Step 4.
Metric | Unit | Formula | Description | Notes
Portfolio_Carbon_Intensity(t) | kgCO2e/m²/yr | SUM( GIA_Weight_j × Carbon_Intensity_j(t) ) for each year t from Reporting_Year to 2050 | GIA-weighted average of each asset's projected carbon intensity, computed separately for every year t. Carbon_Intensity_j(t) is the asset-level forward projection from Asset-Level Step 6.1 (energy demand held constant, grid EFs declining annually). This produces a year-by-year declining portfolio performance trajectory. | KEY OUTPUT. Full time series (one value per year). Declines over time because grid electricity EFs decline. This is the portfolio performance line compared against the Portfolio CRREM Pathway in Step 4.
Portfolio_EUI(t) | kWh/m²/yr | SUM( GIA_Weight_j × EUI_j(t) ) for each year t from Reporting_Year to 2050 | GIA-weighted average of each asset's projected EUI, computed for every year t. Default: EUI_j(t) is flat (= Total_Energy_j / GIA_j for all t). If Asset-Level Step 6.1a (HDD/CDD climate adjustment) is active, EUI_j(t) varies by year per climate scenario. | KEY OUTPUT. Flat by default (constant from reporting year). Climate-adjusted variant produces a time-varying EUI trajectory. This is the portfolio performance line compared against the Portfolio EUI Pathway in Step 4.
Step 2.2 produces the reporting-year snapshot (single value). Step 2.3 extends this to a full time series by applying each asset's year-by-year projected intensities (from Asset-Level Step 6.1) through the same GIA-weighted aggregation. The resulting portfolio trajectories are the performance lines compared against the Portfolio CRREM Pathway (Step 3) in Step 4.
STEP 3 Build the Weighted Portfolio CRREM Pathway
Build the year-by-year GIA-weighted Portfolio CRREM Pathway by applying the same GIA weights to each asset's individual CRREM Pathway, separately for every year from 2020 to 2050. The portfolio pathway is a declining curve — not a single number.
3.1 Build the GIA-Weighted Portfolio CRREM Pathway (year by year, 2020 to 2050)
Metric | Unit | Formula | Description | Notes
Portfolio_CO2_Pathway(t) | kgCO2e/m²/yr | SUM( GIA_Weight_j × CO2_Pathway_j(t) ) for each year t from 2020 to 2050 | GIA-weighted average of each asset's individual CRREM CO2 Pathway, computed separately for every year t. This produces a year-by-year declining portfolio benchmark. | The portfolio pathway is NOT a single number. It is a full time series (one per year). It declines year by year because each asset's individual CRREM Pathway declines.
Portfolio_EUI_Pathway(t) | kWh/m²/yr | SUM( GIA_Weight_j × EUI_Pathway_j(t) ) for each year t from 2020 to 2050 | Same logic for EUI. GIA-weighted average of each asset's CRREM EUI Pathway. | Also a full time series. Used for EUI misalignment comparison.
The portfolio CRREM Pathway is the benchmark against which portfolio performance is compared in Step 4. It reflects the composition of the portfolio: if the portfolio is 80% office and 20% retail, the pathway will be dominated by office pathways. Changing the portfolio composition (buying or selling assets) changes the pathway.
STEP 4 Compare Portfolio Performance Against the Pathway
Compare the portfolio's projected performance trajectories (from Step 2.3) against the GIA-weighted CRREM Pathway (from Step 3.1) to determine whether the portfolio is currently aligned, and to find the CRREM Misalignment Year.
4.1 Reporting Year Comparison & Forward Outlook
Assumption | Applies to | Behavior | Description
Portfolio_Carbon_Intensity | Carbon | Declines year by year (pre-computed in Step 2.3) | Portfolio_Carbon_Intensity(t) is the year-by-year portfolio carbon intensity trajectory computed in Step 2.3. It declines over time because grid electricity emission factors decline annually, even though energy demand per asset is held constant.
Portfolio_EUI | Energy | Held constant from reporting year (default); climate-adjusted variant from Step 2.3 if Asset-Level Step 6.1a is active | Portfolio_EUI(t) is the year-by-year portfolio EUI trajectory computed in Step 2.3. Flat by default (no change in energy demand assumed). If HDD/CDD climate adjustment is active, EUI varies by year.
Portfolio_CO2_Pathway(t) | Carbon | Declines year by year (pre-computed in Step 3.1) | The weighted CRREM Pathway is already a full time series. No additional projection needed.
Portfolio_EUI_Pathway(t) | Energy | Declines year by year (pre-computed in Step 3.1) | Same for EUI Pathway.
4.2 Finding the Portfolio CRREM Misalignment Year
Calculation | Unit | Formula | Description | Notes
Portfolio_CO2_Misalignment_Year | year | Loop t from reporting year to 2050. Find first year t where Portfolio_Carbon_Intensity(t) > Portfolio_CO2_Pathway(t). Portfolio_Carbon_Intensity(t) declines due to grid decarbonization. If already exceeded in reporting year, report reporting year. If no crossing through 2050, report 'Beyond 2050'. | The first year the portfolio's projected carbon intensity (declining due to grid decarbonization) exceeds the declining GIA-weighted CRREM CO2 Pathway. | KEY OUTPUT
Portfolio_EUI_Misalignment_Year | year | Loop t from 2020 to 2050. Find first year t where Portfolio_EUI > Portfolio_EUI_Pathway(t). If already exceeded before 2020, report 2020. If no crossing through 2050, report 'Beyond 2050'. | The first year the portfolio's EUI exceeds the declining GIA-weighted CRREM EUI Pathway. | KEY OUTPUT
SUMMARY OF KEY FORMULAS
Metric |  | Formula
Total GIA |  | SUM(GIA_j)
GIA Weight per asset |  | GIA_j / Total_GIA
Portfolio Carbon Intensity |  | SUM( GIA_Weight_j × Carbon_Intensity_j )
Portfolio EUI |  | SUM( GIA_Weight_j × EUI_j )
Portfolio Carbon Intensity (per year t) |  | SUM( GIA_Weight_j × Carbon_Intensity_j(t) ) for each t
Portfolio EUI (per year t) |  | SUM( GIA_Weight_j × EUI_j(t) ) for each t
Portfolio CO2 Pathway (per year t) |  | SUM( GIA_Weight_j × CO2_Pathway_j(t) ) for each t
Portfolio EUI Pathway (per year t) |  | SUM( GIA_Weight_j × EUI_Pathway_j(t) ) for each t
Portfolio CO2 Misalignment Year |  | First t (2020 to 2050) where Portfolio_CI > Portfolio_CO2_Pathway(t)
Portfolio EUI Misalignment Year |  | First t (2020 to 2050) where Portfolio_EUI > Portfolio_EUI_Pathway(t)